## Slide 1: Automated Real-Time Quality Control of LC-MS Metabolomics Data: QC4Metabolomics
Jan Stanstrup
Systems Medicine
jan.stanstrup@regionh.dk
stanstrup@gmail.com
stanstrup.github.io
@JanStanstrup

## Slide 2: QC in Metabolomics – Many facets
Sample prep
Reproducibility
Recovery
(Storage)
Analytical
Linearity
Response to concentration
Repeatability/Reproducibility
Carry over
Identification
Specificity
Coverage
Relevance
IN
OUT
==
Notes: When you speak about QC in metabolomics we can of course consider different step of the analyses
Sample prep for example where at lot of attention have already been devoted to…
Or the identification step that I would also claim have QC aspects
For the analytical part a lot of attention is typically devoted to creating a robust method when the method is developed.
But what is often not considered very systematically is making sure that the quality is *kept* good and consistent.
To achieve this you need to monitor your analysis as it is happening.
If things slip in any of these steps your downstream analysis will be compromised and you end up putting garbage in so you can only get garbage out at the end of your data analysis.
My talk today will therefore be about QC in the analytical part with a focus on reproducibility
https://pixabay.com/en/trash-can-garbage-can-waste-basket-23653/

## Slide 3: QC in Metabolomics – Many facets
Sample prep
Reproducibility
Recovery
(Storage)
Analytical
Linearity
Response to concentration
Repeatability/Reproducibility
Carry over
Identification
Specificity
Coverage
Relevance
Notes: My talk today will therefore be about QC in the analytical part with a focus on reproducibility

## Slide 4: QC in Metabolomics – Is different and difficult
Complex data
Too many peaks to inspect manually
No internal standards for all compounds
Noise/contaminants
Dynamic range

## Slide 5: QC in Metabolomics – Current typical practice
Spot checking during analysis
  Impossible to do comprehensively
  Not all problems apparent to the eye
  Minor peaks covered by major peaks
  Requires experienced operators
Notes: https://pixabay.com/en/inspector-man-detective-male-160143/
http://thebusinessweave.tumblr.com/post/71126943901/when-i-get-to-my-roommates-leftover-pizza-before

## Slide 6: QC in Metabolomics – Current typical practice
Spot checking during analysis
  Impossible to do comprehensively
  Not all problems apparent to the eye
  Minor peaks covered by major peaks
  Requires experienced operators
Checking systematic changes during data analysis, e.g. by PCA analysis
  Only statistical corrections can be done
  Some problems too large to correct
  Detrimental problems require full instrumental analysis
Notes: https://pixabay.com/en/inspector-man-detective-male-160143/
http://thebusinessweave.tumblr.com/post/71126943901/when-i-get-to-my-roommates-leftover-pizza-before

## Slide 7: QC in Metabolomics – Current typical practice
Spot checking during analysis
  Impossible to do comprehensively
  Not all problems apparent to the eye
  Minor peaks covered by major peaks
  Requires experienced operators
Checking systematic changes during data analysis, e.g. by PCA analysis
  Only statistical corrections can be done
  Some problems too large to correct
  Detrimental problems require full instrumental analysis
Notes: https://pixabay.com/en/inspector-man-detective-male-160143/
http://thebusinessweave.tumblr.com/post/71126943901/when-i-get-to-my-roommates-leftover-pizza-before

## Slide 8: QC in Metabolomics – Is different and difficult
Batch effects and intensity drift
Subtle instrumental issues (loss of calibration, etc.)
No consensus
Documentation/tracking
Notes: As an example… colored by diabetes

## Slide 9: QC in Metabolomics – How can we do it better?

## Slide 10: QC in Metabolomics – How can we do it better?
Real-time tracking of standards or common compounds
  Retention time stable?
  m/z constant and accurate?
  Intensity drops?
Contamination level changes?
Room conditions ok?

## Slide 11: QC4Metabolomics GUI
Notes: Sample type, search, zoom

## Slide 12: Tracking standards - Intensity

## Slide 13: Tracking standards - Chromatography

## Slide 14: Tracking standards - Intensity
Now go find out why!
Reanalyze now?

## Slide 15: Tracking standards - Chromatography
New column?
New solvent?

## Slide 16: Tracking standards - Chromatography

## Slide 17: Tracking standards – Mass accuracy

## Slide 18: Contaminants – Overview

## Slide 19: Contaminants – Over time

## Slide 20: Contaminants – Over time
These are solvent 
this contaminant is from sample prep

## Slide 21: Contaminants – Single samples screening

## Slide 22: Productivity

## Slide 23: Room conditions

## Slide 24: Real-time warnings
m/z accuracy outside parameters
Retention time outside parameters
Line broadening
Extreme loss of sensitivity
Contaminants increasing compared to historic past

## Slide 25: Other features of QC4Metabolomics
Dataset reports
Flexible: e.g. compounds to track and peak-picking parameters can be customized
Modular: Modules can be enabled/disabled and modules can be written for a specific setup or new purpose
Data can be extracted from the database
Open-source
Written in R (XCMS) and shiny making it relatively accessible to bioinformaticians to expand

## Slide 26: Perspective
Moving towards a clinical setting
Long term monitoring (storage)
Long term NIST samples stability/reproducibility
Inter-lab comparisons

## Slide 27: Thank you for your attention