## Slide 1
Metabolomics pre-processing & Compound Annotation
6. September 2016
Gözde Gürdeniz & Jan Stanstrup
stanstrup@gmail.com
http://stanstrup.github.io
@JanStanstrup
gozg@nexs.ku.dk
Notes: Publish slides? Slideshare, researchgate, my website?

## Slide 2: Agenda
Why do we do metabolomics and what does the data look like?
LC-MS data pre-processing
Compound identification

## Slide 3: What is a metabolomics experiment?
Notes: Normal analysis  specific measurement  jump right to interpretation
Sample contains so much more information
This is where metabolomics stand out and these and the steps we will be talking about today

## Slide 4: Separating the components
Notes: Chromatogram

## Slide 5: Separating the components
Notes: Total Ion Chromatogram (TIC)

## Slide 6: Scanning the compounds in complex samples
Notes: Mass spectra

## Slide 7: Scanning the compounds in complex samples
Notes: For each time point 
Mass spectra

## Slide 8: Scanning the compounds in complex samples
Notes: Extracted Ion Chromatogram

## Slide 9: Complex 3D data

## Slide 10: Complex 3D data
EIC

## Slide 11: Complex 3D data
Mass spectrum

## Slide 12: Molecular formula: Isotope pattern
C6H5Cl
+1
+2
+3
monoisotopic mass
Notes: Pseudo-molecular Ion

## Slide 13
Ionization in the ESI source. Some in-source fragmentation takes place (green here).
Everything passes the quadrupole
Collision cell is ”off”
TOF separates by m/z
Fragmentation: MS1 (Q-TOF)
Notes: Pseudo-molecular ion
Only ionized by adding or removing a hydrogen.
There are other things than fragments that can cause additional peaks from the same compound  adducts

## Slide 14
Adducts

## Slide 15
[2M-H+]-
[2M+Na+-2H+]-
[3M-H+]-
[4M+Fe3+-4H+]-
Contaminants
[4M+Fe3+-4H+]-
???
Adducts and polymers
Notes: There is not the most common adducts that would be chloride - or at least they are very small – but we see these other adducts… 
Remember this is MS1. so also coeluting compounds
Doing this manually is a very tedious process

## Slide 16: Related or not?

## Slide 17: Unrelated and probably contaminant

## Slide 18: Why we need pre-processing

## Slide 19: Why we need pre-processing

## Slide 20: Converting data to open formats
Vendor | Formats | Converter
Agilent | .d | ProteoWizard
Bruker | .d, YEP, BAF, FID | CompassXport (Bruker) ProteoWizard (registry trick required!)
Thermo Fisher | RAW | ProteoWizard
Waters | .raw | DataBridge (Waters, only netCDF) ProteoWizard (only new version with lockmassRefiner filter) Masswolf: Intertwines lockmass scans
Converters
ProteoWizard for most formats
Some vendor converters
Some (old) format specific converters
Formats
netCDF: Obsolete, limited, well-supported
mzXML: Obsolete, well-supported
mzData: Obsolete, limited support
mzML: Current standard